Device: a-switch-1

Role: Access Switch

Site: Block A

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/414/

Networking

Interface	Description	Mode	MAC	Untagged VLAN	Tagged VLANs	Patched to	Endpoint	IP-Addresses
1	Patchpanel A-Br-Keller/K/2 / Front 3
2	Patchpanel A-Br-Keller/K/1 / Front 4
3	Br A Keller StuRa 1 / IPMI	Br A Keller StuRa 1 / IPMI
4	Patchpanel A-Br-Keller/K/1 / Front 6
5	Ziel unbekannt. verschwindet in der Wand
6	Patchpanel A-Br-Keller/K/2 / Front 2
7	femap012d / WAN	femap012d / WAN
8	Patchpanel A-Br-Keller/K/2 / Front 1
9	Br A Keller StuRa 1 / 1	Br A Keller StuRa 1 / 1
10	Patchpanel A-Br-Keller/K/2 / Front 5
11	Patchpanel A-Br-Keller/K/1 / Front 22
12	Patchpanel A-Br-Keller/K/1 / Front 1
13	Patchpanel A-Br-Keller/K/1 / Front 2
14	Patchpanel A-Br-Keller/K/1 / Front 3
15	Patchpanel A-Br-Keller/K/1 / Front 16
16	Patchpanel A-Br-Keller/K/1 / Front 5
17	Patchpanel A-Br-Keller/K/1 / Front 18
18	Patchpanel A-Br-Keller/K/1 / Front 7
19	Patchpanel A-Br-Keller/K/1 / Front 8
20	Patchpanel A-Br-Keller/K/1 / Front 9
21	Patchpanel A-Br-Keller/K/1 / Front 19
22	Br A Keller StuRa 2 / eth1	Br A Keller StuRa 2 / eth1
23	Patchpanel A-Br-Keller/K/1 / Front 23
24	Br A Keller StuRa 2 / eth2	Br A Keller StuRa 2 / eth2
A1	Tagged (All)
A2	Tagged (All)	A-Br-Keller/MM/B-Br-KellerA-Br-Keller/MM/A-Br-Etage-3 / Port 5/6 | a-switch-4 / A1 | | | A3 | | Tagged (All) | | | | A-Br-Keller/SM/B-Br-Keller / Port 1/2 | newdawn / 1/1/17 | | | A4 | | Tagged (All) | | | | A-Br-Keller/MM/B-Br-KellerA-Br-Keller/MM/A-Br-Etage-3 / Port 1/2
Out Of Band Management Port
vlan81	Access	Management (81)	10.42.51.1/16