Device: Hausaufgang I

Role: Hausverkabelung

Site: Block I

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/1096/

Networking

Front Port	Description	Patched to	Rear Port
00-1 Downlink	aruba-ap-i01 / E1	00-1 Downlink Rear / 1
00-1 Uplink	aruba-ap-i01 / E0	00-1 Uplink Rear / 1
00-2 Downlink	aruba-ap-i02 / E1	00-2 Downlink Rear / 1
00-2 Uplink	aruba-ap-i02 / E0	00-2 Uplink Rear / 1
00-3 Downlink	aruba-ap-i03 / E1	00-3 Downlink Rear / 1
00-3 Uplink	aruba-ap-i03 / E0	00-3 Uplink Rear / 1
00-4 Downlink	aruba-ap-i04 / E1	00-4 Downlink Rear / 1
00-4 Uplink	aruba-ap-i04 / E0	00-4 Uplink Rear / 1
00-5 Downlink	aruba-ap-i05 / E1	00-5 Downlink Rear / 1
00-5 Uplink	aruba-ap-i05 / E0	00-5 Uplink Rear / 1
00-6 Downlink	aruba-ap-i06 / E1	00-6 Downlink Rear / 1
00-6 Uplink	aruba-ap-i06 / E0	00-6 Uplink Rear / 1
00-7 Downlink	aruba-ap-i07 / E1	00-7 Downlink Rear / 1
00-7 Uplink	aruba-ap-i07 / E0	00-7 Uplink Rear / 1
00-11 Dose 1F05	00-11 Dose 1F05 Rear / 1
00-12 Dose 1F06	00-12 Dose 1F06 Rear / 1
00-12 Dose 1F07	00-12 Dose 1F07 Rear / 1
00-13 Dose 1F08	00-13 Dose 1F08 Rear / 1
00-14 Dose 1F09	00-14 Dose 1F09 Rear / 1
00-14 Dose 1F10	00-14 Dose 1F10 Rear / 1
00-21 Dose 1F11	00-21 Dose 1F11 Rear / 1
00-22 Dose 1F12	00-22 Dose 1F12 Rear / 1
00-22 Dose 1F13	00-22 Dose 1F13 Rear / 1
00-31 Dose 1F14	00-31 Dose 1F14 Rear / 1
00-32 Dose 1F15	00-32 Dose 1F15 Rear / 1
00-32 Dose 1F16	00-32 Dose 1F16 Rear / 1
00-41 Dose 1F17	00-41 Dose 1F17 Rear / 1
00-42 Dose 1F18	00-42 Dose 1F18 Rear / 1
00-42 Dose 1F19	00-42 Dose 1F19 Rear / 1
00-43 Dose 1F20	00-43 Dose 1F20 Rear / 1
00-51 Dose 1F21	00-51 Dose 1F21 Rear / 1
00-52 Dose 1F22	00-52 Dose 1F22 Rear / 1
00-52 Dose 1F23	00-52 Dose 1F23 Rear / 1
00-53 Dose 1F24	00-53 Dose 1F24 Rear / 1
00-54 Dose 1G01	00-54 Dose 1G01 Rear / 1
00-54 Dose 1G02	00-54 Dose 1G02 Rear / 1
00-61 Dose 1G03	00-61 Dose 1G03 Rear / 1
00-62 Dose 1G04	00-62 Dose 1G04 Rear / 1
00-62 Dose 1G05	00-62 Dose 1G05 Rear / 1
00-63 Dose 1G06	00-63 Dose 1G06 Rear / 1
00-64 Dose 1G07	00-64 Dose 1G07 Rear / 1
00-64 Dose 1G08	00-64 Dose 1G08 Rear / 1
00-71 Dose 1G09	00-71 Dose 1G09 Rear / 1
00-72 Dose 1G10	00-72 Dose 1G10 Rear / 1
00-72 Dose 1G11	00-72 Dose 1G11 Rear / 1
01-1 Downlink	aruba-ap-i11 / E1	01-1 Downlink Rear / 1
01-1 Uplink	aruba-ap-i11 / E0	01-1 Uplink Rear / 1
01-3 Downlink	aruba-ap-i13 / E1	01-3 Downlink Rear / 1
01-3 Uplink	aruba-ap-i13 / E0	01-3 Uplink Rear / 1
01-4 Downlink	aruba-ap-i14 / E1	01-4 Downlink Rear / 1
01-4 Uplink	aruba-ap-i14 / E0	01-4 Uplink Rear / 1
01-5 Downlink	aruba-ap-i15 / E1	01-5 Downlink Rear / 1
01-5 Uplink	aruba-ap-i15 / E0	01-5 Uplink Rear / 1
01-6 Downlink	aruba-ap-i16 / E1	01-6 Downlink Rear / 1
01-6 Uplink	aruba-ap-i16 / E0	01-6 Uplink Rear / 1
01-7 Downlink	aruba-ap-i17 / E1	01-7 Downlink Rear / 1
01-7 Uplink	aruba-ap-i17 / E0	01-7 Uplink Rear / 1
01-11 Dose 1D22	01-11 Dose 1D22 Rear / 1
01-12 Dose 1D23	01-12 Dose 1D23 Rear / 1
01-12 Dose 1D24	01-12 Dose 1D24 Rear / 1
01-13 Dose 1E01	01-13 Dose 1E01 Rear / 1
01-14 Dose 1E02	01-14 Dose 1E02 Rear / 1
01-14 Dose 1E03	01-14 Dose 1E03 Rear / 1
01-21 Dose 1E04	01-21 Dose 1E04 Rear / 1
01-22 Dose 1E05	01-22 Dose 1E05 Rear / 1
01-22 Dose 1E06	01-22 Dose 1E06 Rear / 1
01-31 Dose 1E07	01-31 Dose 1E07 Rear / 1
01-32 Dose 1E08	01-32 Dose 1E08 Rear / 1
01-32 Dose 1E09	01-32 Dose 1E09 Rear / 1
01-41 Dose 1E10	01-41 Dose 1E10 Rear / 1
01-42 Dose 1E11	01-42 Dose 1E11 Rear / 1
01-42 Dose 1E12	01-42 Dose 1E12 Rear / 1
01-43 Dose 1E13	01-43 Dose 1E13 Rear / 1
01-51 Dose 1E14	01-51 Dose 1E14 Rear / 1
01-52 Dose 1E15	01-52 Dose 1E15 Rear / 1
01-52 Dose 1E16	01-52 Dose 1E16 Rear / 1
01-53 Dose 1E17	01-53 Dose 1E17 Rear / 1
01-54 Dose 1E18	01-54 Dose 1E18 Rear / 1
01-54 Dose 1E19	01-54 Dose 1E19 Rear / 1
01-61 Dose 1E20	01-61 Dose 1E20 Rear / 1
01-62 Dose 1E21	01-62 Dose 1E21 Rear / 1
01-62 Dose 1E22	01-62 Dose 1E22 Rear / 1
01-63 Dose 1E23	01-63 Dose 1E23 Rear / 1
01-64 Dose 1E24	01-64 Dose 1E24 Rear / 1
01-64 Dose 1F01	01-64 Dose 1F01 Rear / 1
01-71 Dose 1F02	01-71 Dose 1F02 Rear / 1
01-72 Dose 1F03	01-72 Dose 1F03 Rear / 1
01-72 Dose 1F04	01-72 Dose 1F04 Rear / 1
02-1 Downlink	aruba-ap-i21 / E1	02-1 Downlink Rear / 1
02-1 Uplink	aruba-ap-i21 / E0	02-1 Uplink Rear / 1
02-2 Downlink	aruba-ap-i22 / E1	02-2 Downlink Rear / 1
02-2 Uplink	aruba-ap-i22 / E0	02-2 Uplink Rear / 1
02-3 Downlink	aruba-ap-i23 / E1	02-3 Downlink Rear / 1
02-3 Uplink	aruba-ap-i23 / E0	02-3 Uplink Rear / 1
02-4 Downlink	aruba-ap-i24 / E1	02-4 Downlink Rear / 1
02-4 Uplink	aruba-ap-i24 / E0	02-4 Uplink Rear / 1
02-5 Downlink	aruba-ap-i25 / E1	02-5 Downlink Rear / 1
02-5 Uplink	aruba-ap-i25 / E0	02-5 Uplink Rear / 1
02-6 Downlink	aruba-ap-i26 / E1	02-6 Downlink Rear / 1
02-6 Uplink	aruba-ap-i26 / E0	02-6 Uplink Rear / 1
02-7 Downlink	aruba-ap-i27 / E1	02-7 Downlink Rear / 1
02-7 Uplink	aruba-ap-i27 / E0	02-7 Uplink Rear / 1
02-11 Dose 1C15	02-11 Dose 1C15 Rear / 1
02-12 Dose 1C16	02-12 Dose 1C16 Rear / 1
02-12 Dose 1C17	02-12 Dose 1C17 Rear / 1
02-13 Dose 1C18	02-13 Dose 1C18 Rear / 1
02-14 Dose 1C19	02-14 Dose 1C19 Rear / 1
02-15 Dose 1C20	02-15 Dose 1C20 Rear / 1
02-21 Dose 1C21	02-21 Dose 1C21 Rear / 1
02-22 Dose 1C22	02-22 Dose 1C22 Rear / 1
02-22 Dose 1C23	02-22 Dose 1C23 Rear / 1
02-31 Dose 1C24	02-31 Dose 1C24 Rear / 1
02-32 Dose 1D01	02-32 Dose 1D01 Rear / 1
02-32 Dose 1D02	02-32 Dose 1D02 Rear / 1
02-41 Dose 1D03	02-41 Dose 1D03 Rear / 1
02-42 Dose 1D04	02-42 Dose 1D04 Rear / 1
02-42 Dose 1D05	02-42 Dose 1D05 Rear / 1
02-43 Dose 1D06	02-43 Dose 1D06 Rear / 1
02-51 Dose 1D07	02-51 Dose 1D07 Rear / 1
02-52 Dose 1D08	02-52 Dose 1D08 Rear / 1
02-52 Dose 1D09	02-52 Dose 1D09 Rear / 1
02-53 Dose 1D10	02-53 Dose 1D10 Rear / 1
02-54 Dose 1D11	02-54 Dose 1D11 Rear / 1
02-54 Dose 1D12	02-54 Dose 1D12 Rear / 1
02-61 Dose 1D13	02-61 Dose 1D13 Rear / 1
02-62 Dose 1D14	02-62 Dose 1D14 Rear / 1
02-62 Dose 1D15	02-62 Dose 1D15 Rear / 1
02-63 Dose 1D16	02-63 Dose 1D16 Rear / 1
02-64 Dose 1D17	02-64 Dose 1D17 Rear / 1
02-64 Dose 1D18	02-64 Dose 1D18 Rear / 1
02-71 Dose 1D19	02-71 Dose 1D19 Rear / 1
02-72 Dose 1D20	02-72 Dose 1D20 Rear / 1
02-72 Dose 1D21	02-72 Dose 1D21 Rear / 1
03-1 Downlink	aruba-ap-i31 / E1	03-1 Downlink Rear / 1
03-1 Uplink	aruba-ap-i31 / E0	03-1 Uplink Rear / 1
03-2 Downlink	aruba-ap-i32 / E1	03-2 Downlink Rear / 1
03-2 Uplink	aruba-ap-i32 / E0	03-2 Uplink Rear / 1
03-3 Downlink	aruba-ap-i33 / E1	03-3 Downlink Rear / 1
03-3 Uplink	aruba-ap-i33 / E0	03-3 Uplink Rear / 1
03-4 Downlink	aruba-ap-i34 / E1	03-4 Downlink Rear / 1
03-4 Uplink	aruba-ap-i34 / E0	03-4 Uplink Rear / 1
03-5 Downlink	aruba-ap-i35 / E1	03-5 Downlink Rear / 1
03-5 Uplink	aruba-ap-i35 / E0	03-5 Uplink Rear / 1
03-6 Downlink	aruba-ap-i36 / E1	03-6 Downlink Rear / 1
03-6 Uplink	aruba-ap-i36 / E0	03-6 Uplink Rear / 1
03-7 Downlink	aruba-ap-i37 / E1	03-7 Downlink Rear / 1
03-7 Uplink	aruba-ap-i37 / E0	03-7 Uplink Rear / 1
03-11 Dose 1B08	03-11 Dose 1B08 Rear / 1
03-12 Dose 1B09	03-12 Dose 1B09 Rear / 1
03-12 Dose 1B10	03-12 Dose 1B10 Rear / 1
03-13 Dose 1B11	03-13 Dose 1B11 Rear / 1
03-14 Dose 1B12	03-14 Dose 1B12 Rear / 1
03-14 Dose 1B13	03-14 Dose 1B13 Rear / 1
03-21 Dose 1B14	03-21 Dose 1B14 Rear / 1
03-22 Dose 1B15	03-22 Dose 1B15 Rear / 1
03-22 Dose 1B16	03-22 Dose 1B16 Rear / 1
03-31 Dose 1B17	03-31 Dose 1B17 Rear / 1
03-32 Dose 1B18	03-32 Dose 1B18 Rear / 1
03-32 Dose 1B19	03-32 Dose 1B19 Rear / 1
03-41 Dose 1B20	03-41 Dose 1B20 Rear / 1
03-42 Dose 1B21	03-42 Dose 1B21 Rear / 1
03-42 Dose 1B22	03-42 Dose 1B22 Rear / 1
03-43 Dose 1B23	03-43 Dose 1B23 Rear / 1
03-51 Dose 1C01	03-51 Dose 1C01 Rear / 1
03-52 Dose 1B24	03-52 Dose 1B24 Rear / 1
03-52 Dose 1C02	03-52 Dose 1C02 Rear / 1
03-53 Dose 1C03	03-53 Dose 1C03 Rear / 1
03-54 Dose 1C04	03-54 Dose 1C04 Rear / 1
03-54 Dose 1C05	03-54 Dose 1C05 Rear / 1
03-61 Dose 1C06	03-61 Dose 1C06 Rear / 1
03-62 Dose 1C07	03-62 Dose 1C07 Rear / 1
03-62 Dose 1C08	03-62 Dose 1C08 Rear / 1
03-63 Dose 1C09	03-63 Dose 1C09 Rear / 1
03-64 Dose 1C10	03-64 Dose 1C10 Rear / 1
03-64 Dose 1C11	03-64 Dose 1C11 Rear / 1
03-71 Dose 1C12	03-71 Dose 1C12 Rear / 1
03-72 Dose 1C13	03-72 Dose 1C13 Rear / 1
03-72 Dose 1C14	03-72 Dose 1C14 Rear / 1
04-1 Downlink	aruba-ap-i41 / E1	04-1 Downlink Rear / 1
04-1 Uplink	aruba-ap-i41 / E0	04-1 Uplink Rear / 1
04-3 Downlink	aruba-ap-i43 / E1	04-3 Downlink Rear / 1
04-3 Uplink	aruba-ap-i43 / E0	04-3 Uplink Rear / 1
04-4 Downlink	aruba-ap-i44 / E1	04-4 Downlink Rear / 1
04-4 Uplink	aruba-ap-i44 / E0	04-4 Uplink Rear / 1
04-5 Downlink	aruba-ap-i45 / E1	04-5 Downlink Rear / 1
04-5 Uplink	aruba-ap-i45 / E0	04-5 Uplink Rear / 1
04-6 Downlink	aruba-ap-i46 / E1	04-6 Downlink Rear / 1
04-6 Uplink	aruba-ap-i46 / E0	04-6 Uplink Rear / 1
04-7 Downlink	aruba-ap-i47 / E1	04-7 Downlink Rear / 1
04-7 Uplink	aruba-ap-i47 / E0	04-7 Uplink Rear / 1
04-11 Dose 1A01	04-11 Dose 1A01 Rear / 1
04-12 Dose 1A02	04-12 Dose 1A02 Rear / 1
04-12 Dose 1A03	04-12 Dose 1A03 Rear / 1
04-13 Dose 1A04	04-13 Dose 1A04 Rear / 1
04-14 Dose 1A05	04-14 Dose 1A05 Rear / 1
04-14 Dose 1A06	04-14 Dose 1A06 Rear / 1
04-21 Dose 1A07	04-21 Dose 1A07 Rear / 1
04-22 Dose 1A08	04-22 Dose 1A08 Rear / 1
04-22 Dose 1A09	04-22 Dose 1A09 Rear / 1
04-31 Dose 1A10	04-31 Dose 1A10 Rear / 1
04-32 Dose 1A11	04-32 Dose 1A11 Rear / 1
04-32 Dose 1A12	04-32 Dose 1A12 Rear / 1
04-41 Dose 1A13	04-41 Dose 1A13 Rear / 1
04-42 Dose 1A14	04-42 Dose 1A14 Rear / 1
04-42 Dose 1A15	04-42 Dose 1A15 Rear / 1
04-43 Dose 1A16	04-43 Dose 1A16 Rear / 1
04-51 Dose 1A17	04-51 Dose 1A17 Rear / 1
04-52 Dose 1A18	04-52 Dose 1A18 Rear / 1
04-52 Dose 1A19	04-52 Dose 1A19 Rear / 1
04-53 Dose 1A20	04-53 Dose 1A20 Rear / 1
04-54 Dose 1A21	04-54 Dose 1A21 Rear / 1
04-54 Dose 1A22	04-54 Dose 1A22 Rear / 1
04-61 Dose 1A23	04-61 Dose 1A23 Rear / 1
04-62 Dose 1A24	04-62 Dose 1A24 Rear / 1
04-62 Dose 1B01	04-62 Dose 1B01 Rear / 1
04-63 Dose 1B02	04-63 Dose 1B02 Rear / 1
04-64 Dose 1B03	04-64 Dose 1B03 Rear / 1
04-64 Dose 1B04	04-64 Dose 1B04 Rear / 1
04-71 Dose 1B05	04-71 Dose 1B05 Rear / 1
04-72 Dose 1B06	04-72 Dose 1B06 Rear / 1
04-72 Dose 1B07	04-72 Dose 1B07 Rear / 1
KG-1 Downlink	aruba-ap-i51 / E1	KG-1 Downlink Rear / 1
KG-1 Uplink	aruba-ap-i51 / E0	KG-1 Uplink Rear / 1
KG-2 Downlink	aruba-ap-i52 / E1	KG-2 Downlink Rear / 1
KG-2 Uplink	aruba-ap-i52 / E0	KG-2 Uplink Rear / 1
KG-3 Downlink	aruba-ap-i53 / E1	KG-3 Downlink Rear / 1
KG-3 Uplink	aruba-ap-i53 / E0	KG-3 Uplink Rear / 1
KG-11 Dose 1G13	KG-11 Dose 1G13 Rear / 1
KG-12 Dose 1G14	KG-12 Dose 1G14 Rear / 1
KG-21 Dose 1G15	KG-21 Dose 1G15 Rear / 1
KG-22 Dose 1G16	KG-22 Dose 1G16 Rear / 1
KG-31 Dose 1G17	KG-31 Dose 1G17 Rear / 1
KG-32 Dose 1G18	KG-32 Dose 1G18 Rear / 1
KG-33 Dose 1G19	KG-33 Dose 1G19 Rear / 1
KG-34 Dose 1G20	KG-34 Dose 1G20 Rear / 1
KG-41 Dose 1G12	KG-41 Dose 1G12 Rear / 1
Rear Port	Description	Patched to
00-1 Downlink Rear	Hausaufgang I / 00-12 Dose 1F06 Rear
00-1 Uplink Rear	I-Br/K/F / Rear 06
00-2 Downlink Rear	Hausaufgang I / 00-21 Dose 1F11 Rear
00-2 Uplink Rear	I-Br/K/F / Rear 11
00-3 Downlink Rear	Hausaufgang I / 00-32 Dose 1F15 Rear
00-3 Uplink Rear	I-Br/K/F / Rear 15
00-4 Downlink Rear	Hausaufgang I / 00-43 Dose 1F20 Rear
00-4 Uplink Rear	I-Br/K/F / Rear 20
00-5 Downlink Rear	Hausaufgang I / 00-52 Dose 1F23 Rear
00-5 Uplink Rear	I-Br/K/F / Rear 23
00-6 Downlink Rear	Hausaufgang I / 00-62 Dose 1G05 Rear
00-6 Uplink Rear	I-Br/K/G / Rear 05
00-7 Downlink Rear	Hausaufgang I / 00-72 Dose 1G10 Rear
00-7 Uplink Rear	I-Br/K/G / Rear 10
00-11 Dose 1F05 Rear	I-Br/K/F / Rear 05
00-12 Dose 1F06 Rear	Hausaufgang I / 00-1 Downlink Rear
00-12 Dose 1F07 Rear	I-Br/K/F / Rear 07
00-13 Dose 1F08 Rear	I-Br/K/F / Rear 08
00-14 Dose 1F09 Rear	I-Br/K/F / Rear 09
00-14 Dose 1F10 Rear	I-Br/K/F / Rear 10
00-21 Dose 1F11 Rear	Hausaufgang I / 00-2 Downlink Rear
00-22 Dose 1F12 Rear	I-Br/K/F / Rear 12
00-22 Dose 1F13 Rear	I-Br/K/F / Rear 13
00-31 Dose 1F14 Rear	I-Br/K/F / Rear 14
00-32 Dose 1F15 Rear	Hausaufgang I / 00-3 Downlink Rear
00-32 Dose 1F16 Rear	I-Br/K/F / Rear 16
00-41 Dose 1F17 Rear	I-Br/K/F / Rear 17
00-42 Dose 1F18 Rear	I-Br/K/F / Rear 18
00-42 Dose 1F19 Rear	I-Br/K/F / Rear 19
00-43 Dose 1F20 Rear	Hausaufgang I / 00-4 Downlink Rear
00-51 Dose 1F21 Rear	I-Br/K/F / Rear 21
00-52 Dose 1F22 Rear	I-Br/K/F / Rear 22
00-52 Dose 1F23 Rear	Hausaufgang I / 00-5 Downlink Rear
00-53 Dose 1F24 Rear	I-Br/K/F / Rear 24
00-54 Dose 1G01 Rear	I-Br/K/G / Rear 01
00-54 Dose 1G02 Rear	I-Br/K/G / Rear 02
00-61 Dose 1G03 Rear	I-Br/K/G / Rear 03
00-62 Dose 1G04 Rear	I-Br/K/G / Rear 04
00-62 Dose 1G05 Rear	Hausaufgang I / 00-6 Downlink Rear
00-63 Dose 1G06 Rear	I-Br/K/G / Rear 06
00-64 Dose 1G07 Rear	I-Br/K/G / Rear 07
00-64 Dose 1G08 Rear	I-Br/K/G / Rear 08
00-71 Dose 1G09 Rear	I-Br/K/G / Rear 09
00-72 Dose 1G10 Rear	Hausaufgang I / 00-7 Downlink Rear
00-72 Dose 1G11 Rear	I-Br/K/G / Rear 11
01-1 Downlink Rear	Hausaufgang I / 01-12 Dose 1D24 Rear
01-1 Uplink Rear	I-Br/K/D / Rear 24
01-3 Downlink Rear	Hausaufgang I / 01-31 Dose 1E07 Rear
01-3 Uplink Rear	I-Br/K/E / Rear 07
01-4 Downlink Rear	Hausaufgang I / 01-43 Dose 1E13 Rear
01-4 Uplink Rear	I-Br/K/E / Rear 13
01-5 Downlink Rear	Hausaufgang I / 01-52 Dose 1E16 Rear
01-5 Uplink Rear	I-Br/K/E / Rear 16
01-6 Downlink Rear	Hausaufgang I / 01-62 Dose 1E22 Rear
01-6 Uplink Rear	I-Br/K/E / Rear 22
01-7 Downlink Rear	Hausaufgang I / 01-72 Dose 1F03 Rear
01-7 Uplink Rear	I-Br/K/F / Rear 03
01-11 Dose 1D22 Rear	I-Br/K/D / Rear 22
01-12 Dose 1D23 Rear	I-Br/K/D / Rear 23
01-12 Dose 1D24 Rear	Hausaufgang I / 01-1 Downlink Rear
01-13 Dose 1E01 Rear	I-Br/K/E / Rear 01
01-14 Dose 1E02 Rear	I-Br/K/E / Rear 02
01-14 Dose 1E03 Rear	I-Br/K/E / Rear 03
01-21 Dose 1E04 Rear	I-Br/K/E / Rear 04
01-22 Dose 1E05 Rear	I-Br/K/E / Rear 05
01-22 Dose 1E06 Rear	I-Br/K/E / Rear 06
01-31 Dose 1E07 Rear	Hausaufgang I / 01-3 Downlink Rear
01-32 Dose 1E08 Rear	I-Br/K/E / Rear 08
01-32 Dose 1E09 Rear	I-Br/K/E / Rear 09
01-41 Dose 1E10 Rear	I-Br/K/E / Rear 10
01-42 Dose 1E11 Rear	I-Br/K/E / Rear 11
01-42 Dose 1E12 Rear	I-Br/K/E / Rear 12
01-43 Dose 1E13 Rear	Hausaufgang I / 01-4 Downlink Rear
01-51 Dose 1E14 Rear	I-Br/K/E / Rear 14
01-52 Dose 1E15 Rear	I-Br/K/E / Rear 15
01-52 Dose 1E16 Rear	Hausaufgang I / 01-5 Downlink Rear
01-53 Dose 1E17 Rear	I-Br/K/E / Rear 17
01-54 Dose 1E18 Rear	I-Br/K/E / Rear 18
01-54 Dose 1E19 Rear	I-Br/K/E / Rear 19
01-61 Dose 1E20 Rear	I-Br/K/E / Rear 20
01-62 Dose 1E21 Rear	I-Br/K/E / Rear 21
01-62 Dose 1E22 Rear	Hausaufgang I / 01-6 Downlink Rear
01-63 Dose 1E23 Rear	I-Br/K/E / Rear 23
01-64 Dose 1E24 Rear	I-Br/K/E / Rear 24
01-64 Dose 1F01 Rear	I-Br/K/F / Rear 01
01-71 Dose 1F02 Rear	I-Br/K/F / Rear 02
01-72 Dose 1F03 Rear	Hausaufgang I / 01-7 Downlink Rear
01-72 Dose 1F04 Rear	I-Br/K/F / Rear 04
02-1 Downlink Rear	Hausaufgang I / 02-12 Dose 1C17 Rear
02-1 Uplink Rear	I-Br/K/C / Rear 17
02-2 Downlink Rear	Hausaufgang I / 02-21 Dose 1C21 Rear
02-2 Uplink Rear	I-Br/K/C / Rear 21
02-3 Downlink Rear	Hausaufgang I / 02-31 Dose 1C24 Rear
02-3 Uplink Rear	I-Br/K/C / Rear 24
02-4 Downlink Rear	Hausaufgang I / 02-42 Dose 1D05 Rear
02-4 Uplink Rear	I-Br/K/D / Rear 05
02-5 Downlink Rear	Hausaufgang I / 02-52 Dose 1D09 Rear
02-5 Uplink Rear	I-Br/K/D / Rear 09
02-6 Downlink Rear	Hausaufgang I / 02-62 Dose 1D15 Rear
02-6 Uplink Rear	I-Br/K/D / Rear 15
02-7 Downlink Rear	Hausaufgang I / 02-72 Dose 1D20 Rear
02-7 Uplink Rear	I-Br/K/D / Rear 20
02-11 Dose 1C15 Rear	I-Br/K/C / Rear 15
02-12 Dose 1C16 Rear	I-Br/K/C / Rear 16
02-12 Dose 1C17 Rear	Hausaufgang I / 02-1 Downlink Rear
02-13 Dose 1C18 Rear	I-Br/K/C / Rear 18
02-14 Dose 1C19 Rear	I-Br/K/C / Rear 19
02-15 Dose 1C20 Rear	I-Br/K/C / Rear 20
02-21 Dose 1C21 Rear	Hausaufgang I / 02-2 Downlink Rear
02-22 Dose 1C22 Rear	I-Br/K/C / Rear 22
02-22 Dose 1C23 Rear	I-Br/K/C / Rear 23
02-31 Dose 1C24 Rear	Hausaufgang I / 02-3 Downlink Rear
02-32 Dose 1D01 Rear	I-Br/K/D / Rear 01
02-32 Dose 1D02 Rear	I-Br/K/D / Rear 02
02-41 Dose 1D03 Rear	I-Br/K/D / Rear 03
02-42 Dose 1D04 Rear	I-Br/K/D / Rear 04
02-42 Dose 1D05 Rear	Hausaufgang I / 02-4 Downlink Rear
02-43 Dose 1D06 Rear	I-Br/K/D / Rear 06
02-51 Dose 1D07 Rear	I-Br/K/D / Rear 07
02-52 Dose 1D08 Rear	I-Br/K/D / Rear 08
02-52 Dose 1D09 Rear	Hausaufgang I / 02-5 Downlink Rear
02-53 Dose 1D10 Rear	I-Br/K/D / Rear 10
02-54 Dose 1D11 Rear	I-Br/K/D / Rear 11
02-54 Dose 1D12 Rear	I-Br/K/D / Rear 12
02-61 Dose 1D13 Rear	I-Br/K/D / Rear 13
02-62 Dose 1D14 Rear	I-Br/K/D / Rear 14
02-62 Dose 1D15 Rear	Hausaufgang I / 02-6 Downlink Rear
02-63 Dose 1D16 Rear	I-Br/K/D / Rear 16
02-64 Dose 1D17 Rear	I-Br/K/D / Rear 17
02-64 Dose 1D18 Rear	I-Br/K/D / Rear 18
02-71 Dose 1D19 Rear	I-Br/K/D / Rear 19
02-72 Dose 1D20 Rear	Hausaufgang I / 02-7 Downlink Rear
02-72 Dose 1D21 Rear	I-Br/K/D / Rear 21
03-1 Downlink Rear	Hausaufgang I / 03-12 Dose 1B09 Rear
03-1 Uplink Rear	I-Br/K/B / Rear 09
03-2 Downlink Rear	Hausaufgang I / 03-22 Dose 1B15 Rear
03-2 Uplink Rear	I-Br/K/B / Rear 15
03-3 Downlink Rear	Hausaufgang I / 03-31 Dose 1B17 Rear
03-3 Uplink Rear	I-Br/K/B / Rear 17
03-4 Downlink Rear	Hausaufgang I / 03-42 Dose 1B22 Rear
03-4 Uplink Rear	I-Br/K/B / Rear 22
03-5 Downlink Rear	Hausaufgang I / 03-52 Dose 1C02 Rear
03-5 Uplink Rear	I-Br/K/C / Rear 02
03-6 Downlink Rear	Hausaufgang I / 03-62 Dose 1C08 Rear
03-6 Uplink Rear	I-Br/K/C / Rear 08
03-7 Downlink Rear	Hausaufgang I / 03-72 Dose 1C13 Rear
03-7 Uplink Rear	I-Br/K/C / Rear 13
03-11 Dose 1B08 Rear	I-Br/K/B / Rear 08
03-12 Dose 1B09 Rear	Hausaufgang I / 03-1 Downlink Rear
03-12 Dose 1B10 Rear	I-Br/K/B / Rear 10
03-13 Dose 1B11 Rear	I-Br/K/B / Rear 11
03-14 Dose 1B12 Rear	I-Br/K/B / Rear 12
03-14 Dose 1B13 Rear	I-Br/K/B / Rear 13
03-21 Dose 1B14 Rear	I-Br/K/B / Rear 14
03-22 Dose 1B15 Rear	Hausaufgang I / 03-2 Downlink Rear
03-22 Dose 1B16 Rear	I-Br/K/B / Rear 16
03-31 Dose 1B17 Rear	Hausaufgang I / 03-3 Downlink Rear
03-32 Dose 1B18 Rear	I-Br/K/B / Rear 18
03-32 Dose 1B19 Rear	I-Br/K/B / Rear 19
03-41 Dose 1B20 Rear	I-Br/K/B / Rear 20
03-42 Dose 1B21 Rear	I-Br/K/B / Rear 21
03-42 Dose 1B22 Rear	Hausaufgang I / 03-4 Downlink Rear
03-43 Dose 1B23 Rear	I-Br/K/B / Rear 23
03-51 Dose 1C01 Rear	I-Br/K/C / Rear 01
03-52 Dose 1B24 Rear	I-Br/K/B / Rear 24
03-52 Dose 1C02 Rear	Hausaufgang I / 03-5 Downlink Rear
03-53 Dose 1C03 Rear	I-Br/K/C / Rear 03
03-54 Dose 1C04 Rear	I-Br/K/C / Rear 04
03-54 Dose 1C05 Rear	I-Br/K/C / Rear 05
03-61 Dose 1C06 Rear	I-Br/K/C / Rear 06
03-62 Dose 1C07 Rear	I-Br/K/C / Rear 07
03-62 Dose 1C08 Rear	Hausaufgang I / 03-6 Downlink Rear
03-63 Dose 1C09 Rear	I-Br/K/C / Rear 09
03-64 Dose 1C10 Rear	I-Br/K/C / Rear 10
03-64 Dose 1C11 Rear	I-Br/K/C / Rear 11
03-71 Dose 1C12 Rear	I-Br/K/C / Rear 12
03-72 Dose 1C13 Rear	Hausaufgang I / 03-7 Downlink Rear
03-72 Dose 1C14 Rear	I-Br/K/C / Rear 14
04-1 Downlink Rear	Hausaufgang I / 04-12 Dose 1A03 Rear
04-1 Uplink Rear	I-Br/K/A / Rear 03
04-3 Downlink Rear	Hausaufgang I / 04-32 Dose 1A11 Rear
04-3 Uplink Rear	I-Br/K/A / Rear 11
04-4 Downlink Rear	Hausaufgang I / 04-42 Dose 1A14 Rear
04-4 Uplink Rear	I-Br/K/A / Rear 14
04-5 Downlink Rear	Hausaufgang I / 04-54 Dose 1A22 Rear
04-5 Uplink Rear	I-Br/K/A / Rear 22
04-6 Downlink Rear	Hausaufgang I / 04-62 Dose 1B01 Rear
04-6 Uplink Rear	I-Br/K/B / Rear 01
04-7 Downlink Rear	Hausaufgang I / 04-71 Dose 1B05 Rear
04-7 Uplink Rear	I-Br/K/B / Rear 05
04-11 Dose 1A01 Rear	I-Br/K/A / Rear 01
04-12 Dose 1A02 Rear	I-Br/K/A / Rear 02
04-12 Dose 1A03 Rear	Hausaufgang I / 04-1 Downlink Rear
04-13 Dose 1A04 Rear	I-Br/K/A / Rear 04
04-14 Dose 1A05 Rear	I-Br/K/A / Rear 05
04-14 Dose 1A06 Rear	I-Br/K/A / Rear 06
04-21 Dose 1A07 Rear	I-Br/K/A / Rear 07
04-22 Dose 1A08 Rear	I-Br/K/A / Rear 08
04-22 Dose 1A09 Rear	I-Br/K/A / Rear 09
04-31 Dose 1A10 Rear	I-Br/K/A / Rear 10
04-32 Dose 1A11 Rear	Hausaufgang I / 04-3 Downlink Rear
04-32 Dose 1A12 Rear	I-Br/K/A / Rear 12
04-41 Dose 1A13 Rear	I-Br/K/A / Rear 13
04-42 Dose 1A14 Rear	Hausaufgang I / 04-4 Downlink Rear
04-42 Dose 1A15 Rear	I-Br/K/A / Rear 15
04-43 Dose 1A16 Rear	I-Br/K/A / Rear 16
04-51 Dose 1A17 Rear	I-Br/K/A / Rear 17
04-52 Dose 1A18 Rear	I-Br/K/A / Rear 18
04-52 Dose 1A19 Rear	I-Br/K/A / Rear 19
04-53 Dose 1A20 Rear	I-Br/K/A / Rear 20
04-54 Dose 1A21 Rear	I-Br/K/A / Rear 21
04-54 Dose 1A22 Rear	Hausaufgang I / 04-5 Downlink Rear
04-61 Dose 1A23 Rear	I-Br/K/A / Rear 23
04-62 Dose 1A24 Rear	I-Br/K/A / Rear 24
04-62 Dose 1B01 Rear	Hausaufgang I / 04-6 Downlink Rear
04-63 Dose 1B02 Rear	I-Br/K/B / Rear 02
04-64 Dose 1B03 Rear	I-Br/K/B / Rear 03
04-64 Dose 1B04 Rear	I-Br/K/B / Rear 04
04-71 Dose 1B05 Rear	Hausaufgang I / 04-7 Downlink Rear
04-72 Dose 1B06 Rear	I-Br/K/B / Rear 06
04-72 Dose 1B07 Rear	I-Br/K/B / Rear 07
KG-1 Downlink Rear	Hausaufgang I / KG-11 Dose 1G13 Rear
KG-1 Uplink Rear	I-Br/K/G / Rear 13
KG-2 Downlink Rear	Hausaufgang I / KG-21 Dose 1G15 Rear
KG-2 Uplink Rear	I-Br/K/G / Rear 15
KG-3 Downlink Rear	Hausaufgang I / KG-32 Dose 1G18 Rear
KG-3 Uplink Rear	I-Br/K/G / Rear 18
KG-11 Dose 1G13 Rear	Hausaufgang I / KG-1 Downlink Rear
KG-12 Dose 1G14 Rear	I-Br/K/G / Rear 14
KG-21 Dose 1G15 Rear	Hausaufgang I / KG-2 Downlink Rear
KG-22 Dose 1G16 Rear	I-Br/K/G / Rear 16
KG-31 Dose 1G17 Rear	I-Br/K/G / Rear 17
KG-32 Dose 1G18 Rear	Hausaufgang I / KG-3 Downlink Rear
KG-33 Dose 1G19 Rear	I-Br/K/G / Rear 19
KG-34 Dose 1G20 Rear	I-Br/K/G / Rear 20
KG-41 Dose 1G12 Rear	I-Br/K/G / Rear 12