Device: Hausaufgang L 6b

Role: Hausaufgang

Site: Block L

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/1103/

Networking

Front Port	Description	Patched to	Rear Port
07-00-11 Dose 2	07-00-11 Dose 2 Rear / 1
07-00-12 Dose 4	07-00-12 Dose 4 Rear / 1
07-00-12 Dose 5	07-00-12 Dose 5 Rear / 1
07-00-21 Dose 4	07-00-21 Dose 4 Rear / 1
07-00-21 Dose 5	07-00-21 Dose 5 Rear / 1
07-00-22 Dose 2	07-00-22 Dose 2 Rear / 1
07-00-23 Dose 1	07-00-23 Dose 1 Rear / 1
07-01-11 Dose 4	07-01-11 Dose 4 Rear / 1
07-01-11 Dose 5	07-01-11 Dose 5 Rear / 1
07-01-12 Dose 2	07-01-12 Dose 2 Rear / 1
07-01-13 Dose 1	07-01-13 Dose 1 Rear / 1
07-01-21 Dose 1	07-01-21 Dose 1 Rear / 1
07-01-22 Dose 2	07-01-22 Dose 2 Rear / 1
07-01-23 Dose 4	07-01-23 Dose 4 Rear / 1
07-01-23 Dose 5	07-01-23 Dose 5 Rear / 1
07-02-11 Dose 4	07-02-11 Dose 4 Rear / 1
07-02-11 Dose 5	07-02-11 Dose 5 Rear / 1
07-02-12 Dose 2	07-02-12 Dose 2 Rear / 1
07-02-13 Dose 1	07-02-13 Dose 1 Rear / 1
07-02-21 Dose 1	07-02-21 Dose 1 Rear / 1
07-02-22 Dose 2	07-02-22 Dose 2 Rear / 1
07-02-23 Dose 4	07-02-23 Dose 4 Rear / 1
07-02-23 Dose 5	07-02-23 Dose 5 Rear / 1
07-03-11 Dose 4	07-03-11 Dose 4 Rear / 1
07-03-11 Dose 5	07-03-11 Dose 5 Rear / 1
07-03-12 Dose 2	07-03-12 Dose 2 Rear / 1
07-03-13 Dose 1	07-03-13 Dose 1 Rear / 1
07-03-21 Dose 1	07-03-21 Dose 1 Rear / 1
07-03-22 Dose 2	07-03-22 Dose 2 Rear / 1
07-03-23 Dose 4	07-03-23 Dose 4 Rear / 1
07-03-23 Dose 5	07-03-23 Dose 5 Rear / 1
07-04-11 Dose 4	07-04-11 Dose 4 Rear / 1
07-04-11 Dose 5	07-04-11 Dose 5 Rear / 1
07-04-12 Dose 2	07-04-12 Dose 2 Rear / 1
07-04-13 Dose 1	07-04-13 Dose 1 Rear / 1
07-04-21 Dose 1	07-04-21 Dose 1 Rear / 1
07-04-22 Dose 2	07-04-22 Dose 2 Rear / 1
07-04-23 Dose 4	07-04-23 Dose 4 Rear / 1
07-04-23 Dose 5	07-04-23 Dose 5 Rear / 1
Rear Port	Description	Patched to
07-00-11 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/2
07-00-12 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/3
07-00-12 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/4
07-00-21 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/3
07-00-21 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/4
07-00-22 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/2
07-00-23 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/1
07-01-11 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/7
07-01-11 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/8
07-01-12 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/6
07-01-13 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/5
07-01-21 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/5
07-01-22 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/6
07-01-23 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/7
07-01-23 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/8
07-02-11 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/11
07-02-11 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/12
07-02-12 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/10
07-02-13 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/9
07-02-21 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/9
07-02-22 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/10
07-02-23 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/11
07-02-23 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/12
07-03-11 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/15
07-03-11 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/16
07-03-12 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/14
07-03-13 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/13
07-03-21 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/13
07-03-22 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/14
07-03-23 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/15
07-03-23 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/16
07-04-11 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/19
07-04-11 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/20
07-04-12 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/18
07-04-13 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 14/17
07-04-21 Dose 1 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/17
07-04-22 Dose 2 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/18
07-04-23 Dose 4 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/19
07-04-23 Dose 5 Rear	Patchpanel L-Br-6b/K/1 / Rear 4/20