Device: Hausaufgang L 6e

Role: Hausverkabelung

Site: Block L

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/1099/

Networking

Front Port	Description	Patched to	Rear Port
10-01-11 Dose 4	10-01-11 Dose 4 Rear / 1
10-01-11 Dose 5	10-01-11 Dose 5 Rear / 1
10-01-12 Dose 2	10-01-12 Dose 2 Rear / 1
10-01-13 Dose 1	10-01-13 Dose 1 Rear / 1
10-01-21 Dose 1	10-01-21 Dose 1 Rear / 1
10-01-22 Dose 2	10-01-22 Dose 2 Rear / 1
10-01-23 Dose 4	10-01-23 Dose 4 Rear / 1
10-01-23 Dose 5	10-01-23 Dose 5 Rear / 1
10-02-11 Dose 4	10-02-11 Dose 4 Rear / 1
10-02-11 Dose 5	10-02-11 Dose 5 Rear / 1
10-02-12 Dose 2	10-02-12 Dose 2 Rear / 1
10-02-13 Dose 1	10-02-13 Dose 1 Rear / 1
10-02-21 Dose 1	10-02-21 Dose 1 Rear / 1
10-02-22 Dose 2	10-02-22 Dose 2 Rear / 1
10-02-23 Dose 4	10-02-23 Dose 4 Rear / 1
10-02-23 Dose 5	10-02-23 Dose 5 Rear / 1
10-03-11 Dose 4	10-03-11 Dose 4 Rear / 1
10-03-11 Dose 5	10-03-11 Dose 5 Rear / 1
10-03-12 Dose 2	10-03-12 Dose 2 Rear / 1
10-03-13 Dose 1	10-03-13 Dose 1 Rear / 1
10-03-21 Dose 1	10-03-21 Dose 1 Rear / 1
10-03-22 Dose 2	10-03-22 Dose 2 Rear / 1
10-03-23 Dose 4	10-03-23 Dose 4 Rear / 1
10-03-23 Dose 5	10-03-23 Dose 5 Rear / 1
10-04-11 Dose 4	10-04-11 Dose 4 Rear / 1
10-04-11 Dose 5	10-04-11 Dose 5 Rear / 1
10-04-12 Dose 2	10-04-12 Dose 2 Rear / 1
10-04-13 Dose 1	10-04-13 Dose 1 Rear / 1
10-04-21 Dose 1	10-04-21 Dose 1 Rear / 1
10-04-22 Dose 2	10-04-22 Dose 2 Rear / 1
10-04-23 Dose 4	10-04-23 Dose 4 Rear / 1
10-04-23 Dose 5	10-04-23 Dose 5 Rear / 1
Rear Port	Description	Patched to
10-01-11 Dose 4 Rear	Patchpanel L-Br-6e/K/1 / Rear 7
10-01-11 Dose 5 Rear
10-01-12 Dose 2 Rear	Patchpanel L-Br-6e/K/1 / Rear 6
10-01-13 Dose 1 Rear	Patchpanel L-Br-6e/K/1 / Rear 5
10-01-21 Dose 1 Rear	Patchpanel L-Br-6e/K/2 / Rear 5
10-01-22 Dose 2 Rear	Patchpanel L-Br-6e/K/2 / Rear 6
10-01-23 Dose 4 Rear	Patchpanel L-Br-6e/K/2 / Rear 7
10-01-23 Dose 5 Rear
10-02-11 Dose 4 Rear	Patchpanel L-Br-6e/K/1 / Rear 12
10-02-11 Dose 5 Rear	Patchpanel L-Br-6e/K/1 / Rear 13
10-02-12 Dose 2 Rear	Patchpanel L-Br-6e/K/1 / Rear 9
10-02-13 Dose 1 Rear	Patchpanel L-Br-6e/K/1 / Rear 10
10-02-21 Dose 1 Rear	Patchpanel L-Br-6e/K/2 / Rear 10
10-02-22 Dose 2 Rear	Patchpanel L-Br-6e/K/2 / Rear 11
10-02-23 Dose 4 Rear	Patchpanel L-Br-6e/K/2 / Rear 12
10-02-23 Dose 5 Rear	Patchpanel L-Br-6e/K/2 / Rear 13
10-03-11 Dose 4 Rear	Patchpanel L-Br-6e/K/1 / Rear 16
10-03-11 Dose 5 Rear
10-03-12 Dose 2 Rear	Patchpanel L-Br-6e/K/1 / Rear 15
10-03-13 Dose 1 Rear
10-03-21 Dose 1 Rear	Patchpanel L-Br-6e/K/2 / Rear 4
10-03-22 Dose 2 Rear	Patchpanel L-Br-6e/K/2 / Rear 15
10-03-23 Dose 4 Rear	Patchpanel L-Br-6e/K/2 / Rear 16
10-03-23 Dose 5 Rear	Patchpanel L-Br-6e/K/2 / Rear 18
10-04-11 Dose 4 Rear	Patchpanel L-Br-6e/K/1 / Rear 20
10-04-11 Dose 5 Rear	Patchpanel L-Br-6e/K/1 / Rear 22
10-04-12 Dose 2 Rear
10-04-13 Dose 1 Rear	Patchpanel L-Br-6e/K/1 / Rear 18
10-04-21 Dose 1 Rear	Patchpanel L-Br-6e/K/2 / Rear 20
10-04-22 Dose 2 Rear	Patchpanel L-Br-6e/K/2 / Rear 19
10-04-23 Dose 4 Rear	Patchpanel L-Br-6e/K/2 / Rear 21
10-04-23 Dose 5 Rear	Patchpanel L-Br-6e/K/2 / Rear 22