Device: I-Br/K/G

Role: Patchpanel Kupfer

Site: Block I

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/68/

Networking

Front Port	Description	Patched to	Rear Port
Port 01	Rear 01 / 1
Port 02	Rear 02 / 1
Port 03	Rear 03 / 1
Port 04	Rear 04 / 1
Port 05	Rear 05 / 1
Port 06	Rear 06 / 1
Port 07	Rear 07 / 1
Port 08	Rear 08 / 1
Port 09	Rear 09 / 1
Port 10	Rear 10 / 1
Port 11	Rear 11 / 1
Port 12	Rear 12 / 1
Port 13	Rear 13 / 1
Port 14	Rear 14 / 1
Port 15	Rear 15 / 1
Port 16	Rear 16 / 1
Port 17	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 01	Hausaufgang I / 00-54 Dose 1G01 Rear
Rear 02	Hausaufgang I / 00-54 Dose 1G02 Rear
Rear 03	Hausaufgang I / 00-61 Dose 1G03 Rear
Rear 04	Hausaufgang I / 00-62 Dose 1G04 Rear
Rear 05	Hausaufgang I / 00-6 Uplink Rear
Rear 06	Hausaufgang I / 00-63 Dose 1G06 Rear
Rear 07	Hausaufgang I / 00-64 Dose 1G07 Rear
Rear 08	Hausaufgang I / 00-64 Dose 1G08 Rear
Rear 09	Hausaufgang I / 00-71 Dose 1G09 Rear
Rear 10	Hausaufgang I / 00-7 Uplink Rear
Rear 11	Hausaufgang I / 00-72 Dose 1G11 Rear
Rear 12	Hausaufgang I / KG-41 Dose 1G12 Rear
Rear 13	Hausaufgang I / KG-1 Uplink Rear
Rear 14	Hausaufgang I / KG-12 Dose 1G14 Rear
Rear 15	Hausaufgang I / KG-2 Uplink Rear
Rear 16	Hausaufgang I / KG-22 Dose 1G16 Rear
Rear 17	Hausaufgang I / KG-31 Dose 1G17 Rear
Rear 18	Hausaufgang I / KG-3 Uplink Rear
Rear 19	Hausaufgang I / KG-33 Dose 1G19 Rear
Rear 20	Hausaufgang I / KG-34 Dose 1G20 Rear
Rear 21
Rear 22
Rear 23
Rear 24