Device: l-switch-1

Role: Access Switch

Site: Block L

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/147/

Networking

Interface	Description	Mode	MAC	Untagged VLAN	Tagged VLANs	Patched to	Endpoint	IP-Addresses
A1	None	None	Patchpanel L-Br-6d/K/1 / A1
A2	None	None	Patchpanel L-Br-6d/K/1 / A3
A3	None	None	Patchpanel L-Br-6d/K/1 / B1
A4	None	None	Patchpanel L-Br-6d/K/1 / B3
A5	None	None	Patchpanel L-Br-6d/K/1 / C1
A6	None	None	Patchpanel L-Br-6d/K/1 / C3
A7	None	None	Patchpanel L-Br-6d/K/1 / D1
A8	None	None	Patchpanel L-Br-6d/K/1 / D3
A9	None	None	Patchpanel L-Br-6d/K/1 / E1
A10	None	None	Patchpanel L-Br-6d/K/1 / E3
A11	None	None	Patchpanel L-Br-6d/K/1 / A2
A12	None	None	Patchpanel L-Br-6d/K/1 / A4
A13	None	None	Patchpanel L-Br-6d/K/1 / B2
A14	None	None	Patchpanel L-Br-6d/K/1 / B4	aruba-ap-l01 / E0
A15	None	None	Patchpanel L-Br-6d/K/1 / C2
A16	None	None	Patchpanel L-Br-6d/K/1 / C4
A17	None	None	Patchpanel L-Br-6d/K/1 / D2
A18	None	None	Patchpanel L-Br-6d/K/1 / D4
A19	None	None	Patchpanel L-Br-6d/K/1 / E2
A20	None	None	Patchpanel L-Br-6d/K/1 / E4
A21	None	None	Patchpanel L-Br-6d/SM/I-Br / Port 3/4
A22	None	None
A23	None	None	Patchpanel L-Br-6d/SM/I-Br / Port 5/6
A24	None	None	Patchpanel L-Br-6d/SM/L-Br-8c / Port 3/4
B1	None	None	Patchpanel L-Br-6d/K/1 / F1
B2	None	None	Patchpanel L-Br-6d/K/1 / F3
B3	None	None	Patchpanel L-Br-6d/K/1 / G1
B4	None	None	Patchpanel L-Br-6d/K/1 / G3
B5	None	None	Patchpanel L-Br-6d/K/1 / H1
B6	None	None	Patchpanel L-Br-6d/K/1 / H3
B7	None	None	Patchpanel L-Br-6d/K/1 / I1
B8	None	None	Patchpanel L-Br-6d/K/1 / I3
B9	None	None	Patchpanel L-Br-6d/K/1 / J1
B10	None	None	Patchpanel L-Br-6d/K/1 / J3
B11	None	None	Patchpanel L-Br-6d/K/1 / F2
B12	None	None	Patchpanel L-Br-6d/K/1 / F4
B13	None	None	Patchpanel L-Br-6d/K/1 / G2
B14	None	None	Patchpanel L-Br-6d/K/1 / G4
B15	None	None	Patchpanel L-Br-6d/K/1 / H2
B16	None	None	Patchpanel L-Br-6d/K/1 / H4
B17	None	None	Patchpanel L-Br-6d/K/1 / I2
B18	None	None	Patchpanel L-Br-6d/K/1 / I4
B19	None	None	Patchpanel L-Br-6d/K/1 / J2
B20	None	None	Patchpanel L-Br-6d/K/1 / J4
B21	None	None	Patchpanel L-Br-6d/SM/Office / 1
B22	None	None
B23	None	None	Patchpanel L-Br-6d/SM/Office / 2
B24	None	None
C1	None	None
C2	None	None
C3	None	None
C4	None	None
C5	None	None
C6	None	None
C7	None	None
C8	None	None
C9	None	None
C10	None	None
C11	None	None
C12	None	None
C13	None	None
C14	None	None
C15	None	None
C16	None	None
C17	None	None
C18	None	None
C19	None	None
C20	None	None
C21	None	None
C22	None	None
C23	None	None
C24	None	None
D1	None	None
D2	None	None
D3	None	None
D4	None	None
D5	None	None
D6	None	None
D7	None	None
D8	None	None
D9	None	None
D10	None	None
D11	None	None
D12	None	None
D13	None	None
D14	None	None
D15	None	None
D16	None	None
D17	None	None
D18	None	None
D19	None	None
D20	None	None
D21	None	None
D22	None	None
D23	None	None
D24	None	None
E1	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 1
E2	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 1
E3	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 2
E4	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 2
E5	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 3
E6	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 3
E7	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 4
E8	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 4
E9	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 5
E10	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 5
E11	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 6
E12	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 6
E13	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 7
E14	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 7
E15	None	None	Patchpanel L-Br-6d/K/Office/3 / Port 8
E16	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 8
E17	None	None
E18	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 9
E19	None	None
E20	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 10
E21	None	None
E22	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 11
E23	None	None
E24	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 12
F1	None	None
F2	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 13
F3	None	None
F4	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 14
F5	None	None
F6	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 15
F7	None	None
F8	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 16
F9	None	None
F10	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 17
F11	None	None
F12	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 18
F13	None	None
F14	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 19
F15	None	None
F16	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 20
F17	None	None
F18	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 21
F19	None	None
F20	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 22
F21	None	None
F22	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 23
F23	None	None
F24	None	None	Patchpanel L-Br-6d/K/L-Br-6c/1 / Port 24
G1	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 1
G2	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 1
G3	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 2
G4	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 2
G5	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 3
G6	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 3
G7	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 4
G8	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 4
G9	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 5
G10	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 5
G11	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 6
G12	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 6
G13	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 7
G14	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 7
G15	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 8
G16	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 8
G17	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 9
G18	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 9
G19	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 10
G20	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 10
G21	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 11
G22	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 11
G23	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 12
G24	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 12
H1	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 13
H2	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 13
H3	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 14
H4	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 14
H5	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 15
H6	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 15
H7	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 16
H8	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 16
H9	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 17
H10	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 17
H11	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 18
H12	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 18
H13	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 19
H14	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 19
H15	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 20
H16	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 20
H17	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 21
H18	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 21
H19	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 22
H20	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 22
H21	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 23
H22	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 23
H23	None	None	Patchpanel L-Br-6d/K/L-Br-6c/2 / Port 24
H24	None	None	Patchpanel L-Br-6d/K/L-Br-6b/1 / Port 24
I1	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 1
I2	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 1
I3	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 2
I4	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 2
I5	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 3
I6	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 3
I7	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 4
I8	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 4
I9	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 5
I10	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 5
I11	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 6
I12	None	None
I13	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 7
I14	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 7
I15	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 8
I16	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 8
I17	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 9
I18	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 9
I19	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 10
I20	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 10
I21	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 11
I22	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 12
I23	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 12
I24	None	None
J1	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 13
J2	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 13
J3	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 14
J4	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 14
J5	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 15
J6	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 15
J7	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 16
J8	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 16
J9	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 17
J10	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 17
J11	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 18
J12	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 18
J13	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 19
J14	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 19
J15	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 20
J16	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 20
J17	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 21
J18	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 21
J19	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 22
J20	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 22
J21	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 23
J22	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 23
J23	None	None	Patchpanel L-Br-6d/K/L-Br-6b/2 / Port 24
J24	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 24
K1	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 1
K2	None	None
K3	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 2
K4	None	None
K5	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 3
K6	None	None
K7	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 5
K8	None	None
K9	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 6
K10	None	None
K11	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 7
K12	None	None	Patchpanel L-Br-6d/K/1 / L2 17-3
K13	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 9
K14	None	None
K15	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 10
K16	None	None
K17	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 11
K18	None	None
K19	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 12
K20	None	None
K21	None	None
K22	None	None
K23	None	None	Patchpanel L-Br-6d/K/L-Br-6e/1 / Port 6
K24	None	None
L1	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 13
L2	None	None
L3	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 14
L4	None	None
L5	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 15
L6	None	None
L7	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 16
L8	None	None
L9	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 18
L10	None	None
L11	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 19
L12	None	None
L13	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 20
L14	None	None
L15	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 21
L16	None	None
L17	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 22
L18	None	None
L19	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 23
L20	None	None
L21	None	None	Patchpanel L-Br-6d/K/L-Br-6e/2 / Port 24
L22	None	None
L23	None	None	Patchpanel L-Br-6d/K/1 / M1 20-3
L24	None	None