Device: Patchpanel H-Br/K/1A

Role: Patchpanel Kupfer

Site: Block H

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/83/

Networking

Front Port	Description	Patched to	Rear Port
Port 01	h-switch-1 / C17	Rear 1 / 1
Port 02	h-switch-1 / C18	Rear 2 / 1
Port 03	h-switch-1 / C19	Rear 3 / 1
Port 04	h-switch-1 / C20	Rear 4 / 1
Port 05	h-switch-1 / C21	Rear 5 / 1
Port 06	h-switch-1 / C22	Rear 6 / 1
Port 07	h-switch-1 / C23	Rear 7 / 1
Port 08	h-switch-1 / C24	Rear 8 / 1
Port 09	h-switch-1 / D1	Rear 9 / 1
Port 10	h-switch-1 / D2	Rear 10 / 1
Port 11	h-switch-1 / D3	Rear 11 / 1
Port 12	h-switch-1 / D4	Rear 12 / 1
Port 13	h-switch-1 / D5	Rear 13 / 1
Port 14	h-switch-1 / D6	Rear 14 / 1
Port 15	h-switch-1 / D7	Rear 15 / 1
Port 16	Rear 16 / 1
Port 17	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	Rear 23 / 1
Port 24	h-switch-1 / B12	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang H / 04-51 Dose 1A01 Rear
Rear 2	Hausaufgang H / 04-52 links Dose 1A02 Rear
Rear 3	Hausaufgang H / 04-5 Uplink Rear
Rear 4	Hausaufgang H / 04-53 Dose 1A04 Rear
Rear 5	Hausaufgang H / 04-54 links Dose 1A05 Rear
Rear 6	Hausaufgang H / 04-54 rechts Dose 1A06 Rear
Rear 7	Hausaufgang H / 04-61 Dose 1A07 Rear
Rear 8	Hausaufgang H / 04-62 links Dose 1A08 Rear
Rear 9	Hausaufgang H / 04-6 Uplink Rear
Rear 10	Hausaufgang H / 04-63 Dose 1A10 Rear
Rear 11	Hausaufgang H / 04-64 links Dose 1A11 Rear
Rear 12	Hausaufgang H / 04-64 rechts Dose 1A12 Rear
Rear 13	Hausaufgang H / 04-71 Dose 1A13 Rear
Rear 14	Hausaufgang H / 04-7 Uplink Rear
Rear 15	Hausaufgang H / 04-72 rechts Dose 1A15 Rear
Rear 16
Rear 17
Rear 18
Rear 19
Rear 20
Rear 21
Rear 22
Rear 23
Rear 24	Außen-WLAN-AP über H-Br	aruba-ap-club33 / E0