Device: Patchpanel H-Br/K/1E

Role: Patchpanel Kupfer

Site: Block H

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/88/

Networking

Front Port	Description	Patched to	Rear Port
Port 01	h-switch-1 / H21	Rear 1 / 1
Port 02	h-switch-1 / H22	Rear 2 / 1
Port 03	h-switch-1 / H23	Rear 3 / 1
Port 04	h-switch-1 / H24	Rear 4 / 1
Port 05	h-switch-1 / I1	Rear 5 / 1
Port 06	h-switch-1 / I2	Rear 6 / 1
Port 07	h-switch-1 / I3	Rear 7 / 1
Port 08	h-switch-1 / I6	Rear 8 / 1
Port 09	h-switch-1 / I5	Rear 9 / 1
Port 10	Rear 10 / 1
Port 11	h-switch-1 / I7	Rear 11 / 1
Port 12	h-switch-1 / I8	Rear 12 / 1
Port 13	h-switch-1 / I9	Rear 13 / 1
Port 14	h-switch-1 / I10	Rear 14 / 1
Port 15	h-switch-1 / I11	Rear 15 / 1
Port 16	Rear 16 / 1
Port 17	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang H / 00-51 Dose 1E01 Rear
Rear 2	Hausaufgang H / 00-52 links Dose 1E02 Rear
Rear 3	Hausaufgang H / 00-5 Uplink Rear
Rear 4	Hausaufgang H / 00-53 Dose 1E04 Rear
Rear 5	Hausaufgang H / 00-54 links Dose 1E05 Rear
Rear 6	Hausaufgang H / 00-54 rechts Dose 1E06 Rear
Rear 7	Hausaufgang H / 00-61 Dose 1E07 Rear
Rear 8	Hausaufgang H / 00-63 Dose 1E10 Rear
Rear 9	Hausaufgang H / 00-6 Uplink Rear
Rear 10
Rear 11	Hausaufgang H / 00-64 links Dose 1E11 Rear
Rear 12	Hausaufgang H / 00-64 rechts Dose 1E12 Rear
Rear 13	Hausaufgang H / 00-71 Dose 1E13 Rear
Rear 14	Hausaufgang H / 00-7 Uplink Rear
Rear 15	Hausaufgang H / 00-72 rechts Dose 1E15 Rear
Rear 16
Rear 17
Rear 18
Rear 19
Rear 20
Rear 21
Rear 22
Rear 23
Rear 24