Device: Patchpanel H-Br/K/2C

Role: Patchpanel Kupfer

Site: Block H

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/92/

Networking

Front Port	Description	Patched to	Rear Port
Port 01	h-switch-1 / E15	Rear 1 / 1
Port 02	h-switch-1 / E16	Rear 2 / 1
Port 03	h-switch-1 / E17	Rear 3 / 1
Port 04	h-switch-1 / E18	Rear 4 / 1
Port 05	h-switch-1 / E19	Rear 5 / 1
Port 06	h-switch-1 / E20	Rear 6 / 1
Port 07	h-switch-1 / E21	Rear 7 / 1
Port 08	h-switch-1 / E22	Rear 8 / 1
Port 09	h-switch-1 / E23	Rear 9 / 1
Port 10	h-switch-1 / E24	Rear 10 / 1
Port 11	h-switch-1 / F1	Rear 11 / 1
Port 12	h-switch-1 / F2	Rear 12 / 1
Port 13	h-switch-1 / F3	Rear 13 / 1
Port 14	h-switch-1 / F4	Rear 14 / 1
Port 15	h-switch-1 / F5	Rear 15 / 1
Port 16	h-switch-1 / F6	Rear 16 / 1
Port 17	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang H / 02-11 Dose 2C01 Rear
Rear 2	Hausaufgang H / 02-12 links Dose 2C02 Rear
Rear 3	Hausaufgang H / 02-1 Uplink Rear
Rear 4	Hausaufgang H / 02-13 Dose 2C04 Rear
Rear 5	Hausaufgang H / 02-14 links Dose 2C05 Rear
Rear 6	Hausaufgang H / 02-14 rechts Dose 2C06 Rear
Rear 7	Hausaufgang H / 02-2 Uplink Rear
Rear 8	Hausaufgang H / 02-22 links Dose 2C08 Rear
Rear 9	Hausaufgang H / 02-22 rechts Dose 2C09 Rear
Rear 10	Hausaufgang H / 02-31 Dose 2C10 Rear
Rear 11	Hausaufgang H / 02-3 Uplink Rear
Rear 12	Hausaufgang H / 02-32 rechts Dose 2C12 Rear
Rear 13	Hausaufgang H / 02-41 Dose 2C13 Rear
Rear 14	Hausaufgang H / 02-42 links Dose 2C14 Rear
Rear 15	Hausaufgang H / 02-4 Uplink Rear
Rear 16	Hausaufgang H / 02-43 Dose 2C16 Rear
Rear 17
Rear 18
Rear 19
Rear 20
Rear 21
Rear 22
Rear 23
Rear 24