Device: Patchpanel H-Br/K/2D

Role: Patchpanel Kupfer

Site: Block H

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/93/

Networking

Front Port	Description	Patched to	Rear Port
Port 01	h-switch-1 / F22	Rear 1 / 1
Port 02	h-switch-1 / F23	Rear 2 / 1
Port 03	h-switch-1 / F24	Rear 3 / 1
Port 04	h-switch-1 / G1	Rear 4 / 1
Port 05	h-switch-1 / G2	Rear 5 / 1
Port 06	h-switch-1 / G3	Rear 6 / 1
Port 07	h-switch-1 / G4	Rear 7 / 1
Port 08	h-switch-1 / G5	Rear 8 / 1
Port 09	h-switch-1 / G6	Rear 9 / 1
Port 10	h-switch-1 / G7	Rear 10 / 1
Port 11	h-switch-1 / G8	Rear 11 / 1
Port 12	h-switch-1 / G9	Rear 12 / 1
Port 13	h-switch-1 / G10	Rear 13 / 1
Port 14	h-switch-1 / G11	Rear 14 / 1
Port 15	h-switch-1 / G12	Rear 15 / 1
Port 16	h-switch-1 / G13	Rear 16 / 1
Port 17	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang H / 01-11 Dose 2D01 Rear
Rear 2	Hausaufgang H / 01-12 links Dose 2D02 Rear
Rear 3	Hausaufgang H / 01-1 Uplink Rear
Rear 4	Hausaufgang H / 01-13 Dose 2D04 Rear
Rear 5	Hausaufgang H / 01-14 links Dose 2D05 Rear
Rear 6	Hausaufgang H / 01-14 rechts Dose 2D06 Rear
Rear 7	Hausaufgang H / 01-21 Dose 2D07 Rear
Rear 8	Hausaufgang H / 01-2 Uplink Rear
Rear 9	Hausaufgang H / 01-22 rechts Dose 2D09 Rear
Rear 10	Hausaufgang H / 01-31 Dose 2D10 Rear
Rear 11	Hausaufgang H / 01-3 Uplink Rear
Rear 12	Hausaufgang H / 01-32 rechts Dose 2D12 Rear
Rear 13	Hausaufgang H / 01-41 Dose 2D13 Rear
Rear 14	Hausaufgang H / 01-42 links Dose 2D14 Rear
Rear 15	Hausaufgang H / 01-42 rechts Dose 2D15 Rear
Rear 16	Hausaufgang H / 01-4 Uplink Rear
Rear 17
Rear 18
Rear 19
Rear 20
Rear 21
Rear 22
Rear 23
Rear 24