Device: Patchpanel L-Br-6d/K/L-Br-6b/1

Role: Patchpanel Kupfer

Site: Block L

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/12/

Networking

Front Port	Description	Patched to	Rear Port
Port 1	l-switch-1 / G2	Rear / 1
Port 2	l-switch-1 / G4	Rear / 2
Port 3	l-switch-1 / G6	Rear / 3
Port 4	l-switch-1 / G8	Rear / 4
Port 5	l-switch-1 / G10	Rear / 5
Port 6	l-switch-1 / G12	Rear / 6
Port 7	l-switch-1 / G14	Rear / 7
Port 8	l-switch-1 / G16	Rear / 8
Port 9	l-switch-1 / G18	Rear / 9
Port 10	l-switch-1 / G20	Rear / 10
Port 11	l-switch-1 / G22	Rear / 11
Port 12	l-switch-1 / G24	Rear / 12
Port 13	l-switch-1 / H2	Rear / 13
Port 14	l-switch-1 / H4	Rear / 14
Port 15	l-switch-1 / H6	Rear / 15
Port 16	l-switch-1 / H8	Rear / 16
Port 17	l-switch-1 / H10	Rear / 17
Port 18	l-switch-1 / H12	Rear / 18
Port 19	l-switch-1 / H14	Rear / 19
Port 20	l-switch-1 / H16	Rear / 20
Port 21	l-switch-1 / H18	Rear / 21
Port 22	l-switch-1 / H20	Rear / 22
Port 23	l-switch-1 / H22	Rear / 23
Port 24	l-switch-1 / H24	Rear / 24
Rear Port	Description	Patched to
Rear	Patchpanel L-Br-6b/K/L-Br-6d/1 / Rear