Device: Patchpanel L-Br-8c/K/1

Role: Patchpanel Kupfer

Site: Block L

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/27/

Networking

Front Port	Description	Patched to	Rear Port
Port 7/2	l-switch-2 / A1	Rear 7/2 / 1
Port 7/3	l-switch-2 / A2	Rear 7/3 / 1
Port 7/4	l-switch-2 / A3	Rear 7/4 / 1
Port 7/5	l-switch-2 / A8	Rear 7/5 / 1
Port 7/6	l-switch-2 / A9	Rear 7/6 / 1
Port 7/7	l-switch-2 / A10	Rear 7/7 / 1
Port 7/8	l-switch-2 / A11	Rear 7/8 / 1
Port 7/9	l-switch-2 / A16	Rear 7/9 / 1
Port 7/10	l-switch-2 / A17	Rear 7/10 / 1
Port 7/11	l-switch-2 / A18	Rear 7/11 / 1
Port 7/12	l-switch-2 / A19	Rear 7/12 / 1
Port 7/13	l-switch-2 / B4	Rear 7/13 / 1
Port 7/14	l-switch-2 / B5	Rear 7/14 / 1
Port 7/15	l-switch-2 / B6	Rear 7/15 / 1
Port 7/16	l-switch-2 / B7	Rear 7/16 / 1
Port 7/17	l-switch-2 / B12	Rear 7/17 / 1
Port 7/18	l-switch-2 / B13	Rear 7/18 / 1
Port 7/19	l-switch-2 / B14	Rear 7/19 / 1
Port 7/20	l-switch-2 / B15	Rear 7/20 / 1
Port 17/1	l-switch-2 / A4	Rear 17/1 / 1
Port 17/2	l-switch-2 / A5	Rear 17/2 / 1
Port 17/3	l-switch-2 / A6	Rear 17/3 / 1
Port 17/4	l-switch-2 / A7	Rear 17/4 / 1
Port 17/5	l-switch-2 / A12	Rear 17/5 / 1
Port 17/6	l-switch-2 / A13	Rear 17/6 / 1
Port 17/7	l-switch-2 / A14	Rear 17/7 / 1
Port 17/8	l-switch-2 / A15	Rear 17/8 / 1
Port 17/9	l-switch-2 / B20	Rear 17/9 / 1
Port 17/10	l-switch-2 / B1	Rear 17/10 / 1
Port 17/11	l-switch-2 / B2	Rear 17/11 / 1
Port 17/12	l-switch-2 / B3	Rear 17/12 / 1
Port 17/13	l-switch-2 / B8	Rear 17/13 / 1
Port 17/14	l-switch-2 / B9	Rear 17/14 / 1
Port 17/15	l-switch-2 / B10	Rear 17/15 / 1
Port 17/16	l-switch-2 / B11	Rear 17/16 / 1
Port 17/17	l-switch-2 / B16	Rear 17/17 / 1
Port 17/18	l-switch-2 / B17	Rear 17/18 / 1
Port 17/19	l-switch-2 / B18	Rear 17/19 / 1
Port 17/20	l-switch-2 / B19	Rear 17/20 / 1
Rear Port	Description	Patched to
Rear 7/2	Hausaufgang L 8c / 13-00-11 Dose 2 Rear
Rear 7/3	Hausaufgang L 8c / 13-00-12 Dose 4 Rear
Rear 7/4	Hausaufgang L 8c / 13-00-12 Dose 5 Rear
Rear 7/5	Hausaufgang L 8c / 13-01-21 Dose 1 Rear
Rear 7/6	Hausaufgang L 8c / 13-01-22 Dose 2 Rear
Rear 7/7	Hausaufgang L 8c / 13-01-23 Dose 4 Rear
Rear 7/8	Hausaufgang L 8c / 13-01-23 Dose 5 Rear
Rear 7/9	Hausaufgang L 8c / 13-02-21 Dose 1 Rear
Rear 7/10	Hausaufgang L 8c / 13-02-22 Dose 2 Rear
Rear 7/11	Hausaufgang L 8c / 13-02-23 Dose 4 Rear
Rear 7/12	Hausaufgang L 8c / 13-02-23 Dose 5 Rear
Rear 7/13	Hausaufgang L 8c / 13-03-21 Dose 1 Rear
Rear 7/14	Hausaufgang L 8c / 13-03-22 Dose 2 Rear
Rear 7/15	Hausaufgang L 8c / 13-03-23 Dose 4 Rear
Rear 7/16	Hausaufgang L 8c / 13-03-23 Dose 5 Rear
Rear 7/17	Hausaufgang L 8c / 13-04-21 Dose 1 Rear
Rear 7/18	Hausaufgang L 8c / 13-04-22 Dose 2 Rear
Rear 7/19	Hausaufgang L 8c / 13-04-23 Dose 4 Rear
Rear 7/20	Hausaufgang L 8c / 13-04-23 Dose 5 Rear
Rear 17/1	Hausaufgang L 8c / 13-00-23 Dose 1 Rear
Rear 17/2	Hausaufgang L 8c / 13-00-22 Dose 2 Rear
Rear 17/3	Hausaufgang L 8c / 13-00-21 Dose 4 Rear
Rear 17/4	Hausaufgang L 8c / 13-00-21 Dose 5 Rear
Rear 17/5	Hausaufgang L 8c / 13-01-13 Dose 1 Rear
Rear 17/6	Hausaufgang L 8c / 13-01-12 Dose 2 Rear
Rear 17/7	Hausaufgang L 8c / 13-01-11 Dose 4 Rear
Rear 17/8	Hausaufgang L 8c / 13-01-11 Dose 5 Rear
Rear 17/9	Hausaufgang L 8c / 13-02-13 Dose 1 Rear
Rear 17/10	Hausaufgang L 8c / 13-02-12 Dose 2 Rear
Rear 17/11	Hausaufgang L 8c / 13-02-11 Dose 4 Rear
Rear 17/12	Hausaufgang L 8c / 13-02-11 Dose 5 Rear
Rear 17/13	Hausaufgang L 8c / 13-03-13 Dose 1 Rear
Rear 17/14	Hausaufgang L 8c / 13-03-12 Dose 2 Rear
Rear 17/15	Hausaufgang L 8c / 13-03-11 Dose 4 Rear
Rear 17/16	Hausaufgang L 8c / 13-03-11 Dose 5 Rear
Rear 17/17	Hausaufgang L 8c / 13-04-13 Dose 1 Rear
Rear 17/18	Hausaufgang L 8c / 13-04-12 Dose 2 Rear
Rear 17/19	Hausaufgang L 8c / 13-04-11 Dose 4 Rear
Rear 17/20	Hausaufgang L 8c / 13-04-11 Dose 5 Rear