Device: Patchpanel N-Br/K/C

Role: Patchpanel Kupfer

Site: Block N

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/134/

Networking

Front Port	Description	Patched to	Rear Port
Port 1	n-switch-1 / E20	Rear 1 / 1
Port 2	n-switch-1 / G14	Rear 2 / 1
Port 3	n-switch-1 / A8	Rear 3 / 1
Port 4	Rear 4 / 1
Port 5	n-switch-1 / A10	Rear 5 / 1
Port 6	Rear 6 / 1
Port 7	n-switch-1 / A12	Rear 7 / 1
Port 8	Rear 8 / 1
Port 9	n-switch-1 / A14	Rear 9 / 1
Port 10	Rear 10 / 1
Port 11	n-switch-1 / A16	Rear 11 / 1
Port 12	Rear 12 / 1
Port 13	n-switch-1 / B2	Rear 13 / 1
Port 14	Rear 14 / 1
Port 15	n-switch-1 / B4	Rear 15 / 1
Port 16	Rear 16 / 1
Port 17	n-switch-1 / B6	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	n-switch-1 / B8	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	n-switch-1 / B10	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	n-switch-1 / B12	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang N / 05-13 Dose C01 Rear
Rear 2	Hausaufgang N / 05-13 Dose C02 Rear
Rear 3	Hausaufgang N / 05-14 Dose C03 Rear
Rear 4	Hausaufgang N / 05-14 Dose C04 Rear
Rear 5	Hausaufgang N / 05-15 Dose C05 Rear
Rear 6	Hausaufgang N / 05-15 Dose C06 Rear
Rear 7	Hausaufgang N / 05-16 Dose C07 Rear
Rear 8	Hausaufgang N / 05-16 Dose C08 Rear
Rear 9	Hausaufgang N / 05-17 Dose C09 Rear
Rear 10	Hausaufgang N / 05-17 Dose C10 Rear
Rear 11	Hausaufgang N / 05-18 Dose C11 Rear
Rear 12	Hausaufgang N / 05-18 Dose C12 Rear
Rear 13	Hausaufgang N / 05-19 Dose C13 Rear
Rear 14	Hausaufgang N / 05-19 Dose C14 Rear
Rear 15	Hausaufgang N / 04-01 Dose C15 Rear
Rear 16	Hausaufgang N / 04-01 Dose C16 Rear
Rear 17	Hausaufgang N / 04-02 Dose C17 Rear
Rear 18	Hausaufgang N / 04-02 Dose C18 Rear
Rear 19	Hausaufgang N / 04-03 Dose C19 Rear
Rear 20	Hausaufgang N / 04-03 Dose C20 Rear
Rear 21	Hausaufgang N / 04-04 Dose C21 Rear
Rear 22	Hausaufgang N / 04-04 Dose C22 Rear
Rear 23	Hausaufgang N / 04-05 Dose C23 Rear
Rear 24	Hausaufgang N / 04-05 Dose C24 Rear