Device: Patchpanel N-Br/K/D

Role: Patchpanel Kupfer

Site: Block N

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/135/

Networking

Front Port	Description	Patched to	Rear Port
Port 1	n-switch-1 / A18	Rear 1 / 1
Port 2	Rear 2 / 1
Port 3	n-switch-1 / A20	Rear 3 / 1
Port 4	Rear 4 / 1
Port 5	n-switch-1 / C1	Rear 5 / 1
Port 6	Rear 6 / 1
Port 7	n-switch-1 / C3	Rear 7 / 1
Port 8	Rear 8 / 1
Port 9	n-switch-1 / C5	Rear 9 / 1
Port 10	Rear 10 / 1
Port 11	n-switch-1 / C7	Rear 11 / 1
Port 12	Rear 12 / 1
Port 13	n-switch-1 / B14	Rear 13 / 1
Port 14	n-switch-1 / G18	Rear 14 / 1
Port 15	n-switch-1 / B16	Rear 15 / 1
Port 16	Rear 16 / 1
Port 17	n-switch-1 / B18	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	n-switch-1 / B20	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	n-switch-1 / B22	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	n-switch-1 / B24	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang N / 04-06 Dose D01 Rear
Rear 2	Hausaufgang N / 04-06 Dose D02 Rear
Rear 3	Hausaufgang N / 04-07 Dose D03 Rear
Rear 4	Hausaufgang N / 04-07 Dose D04 Rear
Rear 5	Hausaufgang N / 04-08 Dose D05 Rear
Rear 6	Hausaufgang N / 04-08 Dose D06 Rear
Rear 7	Hausaufgang N / 04-09 Dose D07 Rear
Rear 8	Hausaufgang N / 04-09 Dose D08 Rear
Rear 9	Hausaufgang N / 04-10 Dose D09 Rear
Rear 10	Hausaufgang N / 04-10 Dose D10 Rear
Rear 11	Hausaufgang N / 04-11 Dose D11 Rear
Rear 12	Hausaufgang N / 04-11 Dose D12 Rear
Rear 13	Hausaufgang N / 04-12 Dose D13 Rear
Rear 14	Hausaufgang N / 04-12 Dose D14 Rear
Rear 15	Hausaufgang N / 04-13 Dose D15 Rear
Rear 16	Hausaufgang N / 04-13 Dose D16 Rear
Rear 17	Hausaufgang N / 04-14 Dose D17 Rear
Rear 18	Hausaufgang N / 04-14 Dose D18 Rear
Rear 19	Hausaufgang N / 04-15 Dose D19 Rear
Rear 20	Hausaufgang N / 04-15 Dose D20 Rear
Rear 21	Hausaufgang N / 04-16 Dose D21 Rear
Rear 22	Hausaufgang N / 04-16 Dose D22 Rear
Rear 23	Hausaufgang N / 04-17 Dose D23 Rear
Rear 24	Hausaufgang N / 04-17 Dose D24 Rear