Device: Patchpanel N-Br/K/F

Role: Patchpanel Kupfer

Site: Block N

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/137/

Networking

Front Port	Description	Patched to	Rear Port
Port 1	n-switch-1 / C21	Rear 1 / 1
Port 2	Rear 2 / 1
Port 3	n-switch-1 / C23	Rear 3 / 1
Port 4	Rear 4 / 1
Port 5	n-switch-1 / C2	Rear 5 / 1
Port 6	Rear 6 / 1
Port 7	n-switch-1 / C4	Rear 7 / 1
Port 8	Rear 8 / 1
Port 9	n-switch-1 / C6	Rear 9 / 1
Port 10	Rear 10 / 1
Port 11	n-switch-1 / C8	Rear 11 / 1
Port 12	Rear 12 / 1
Port 13	n-switch-1 / D13	Rear 13 / 1
Port 14	Rear 14 / 1
Port 15	n-switch-1 / D15	Rear 15 / 1
Port 16	Rear 16 / 1
Port 17	n-switch-1 / D17	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	n-switch-1 / D19	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	n-switch-1 / D21	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	n-switch-1 / D23	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang N / 03-11 Dose F01 Rear
Rear 2	Hausaufgang N / 03-11 Dose F02 Rear
Rear 3	Hausaufgang N / 03-12 Dose F03 Rear
Rear 4	Hausaufgang N / 03-12 Dose F04 Rear
Rear 5	Hausaufgang N / 03-13 Dose F05 Rear
Rear 6	Hausaufgang N / 03-13 Dose F06 Rear
Rear 7	Hausaufgang N / 03-14 Dose F07 Rear
Rear 8	Hausaufgang N / 03-14 Dose F08 Rear
Rear 9	Hausaufgang N / 03-15 Dose F09 Rear
Rear 10	Hausaufgang N / 03-15 Dose F10 Rear
Rear 11	Hausaufgang N / 03-16 Dose F11 Rear
Rear 12	Hausaufgang N / 03-16 Dose F12 Rear
Rear 13	Hausaufgang N / 03-17 Dose F13 Rear
Rear 14	Hausaufgang N / 03-17 Dose F14 Rear
Rear 15	Hausaufgang N / 03-18 Dose F15 Rear
Rear 16	Hausaufgang N / 03-18 Dose F16 Rear
Rear 17	Hausaufgang N / 03-19 Dose F17 Rear
Rear 18	Hausaufgang N / 03-19 Dose F18 Rear
Rear 19	Hausaufgang N / 02-01 Dose F19 Rear
Rear 20	Hausaufgang N / 02-01 Dose F20 Rear
Rear 21	Hausaufgang N / 02-02 Dose F21 Rear
Rear 22	Hausaufgang N / 02-02 Dose F22 Rear
Rear 23	Hausaufgang N / 02-03 Dose F23 Rear
Rear 24	Hausaufgang N / 02-03 Dose F24 Rear