Device: Patchpanel N-Br/K/G

Role: Patchpanel Kupfer

Site: Block N

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/138/

Networking

Front Port	Description	Patched to	Rear Port
Port 1	n-switch-1 / C10	Rear 1 / 1
Port 2	Rear 2 / 1
Port 3	n-switch-1 / C12	Rear 3 / 1
Port 4	Rear 4 / 1
Port 5	n-switch-1 / C14	Rear 5 / 1
Port 6	Rear 6 / 1
Port 7	n-switch-1 / C16	Rear 7 / 1
Port 8	n-switch-1 / G20	Rear 8 / 1
Port 9	n-switch-1 / C18	Rear 9 / 1
Port 10	Rear 10 / 1
Port 11	n-switch-1 / C20	Rear 11 / 1
Port 12	Rear 12 / 1
Port 13	n-switch-1 / D2	Rear 13 / 1
Port 14	Rear 14 / 1
Port 15	n-switch-1 / D4	Rear 15 / 1
Port 16	Rear 16 / 1
Port 17	n-switch-1 / D6	Rear 17 / 1
Port 18	Rear 18 / 1
Port 19	n-switch-1 / D8	Rear 19 / 1
Port 20	Rear 20 / 1
Port 21	n-switch-1 / D10	Rear 21 / 1
Port 22	Rear 22 / 1
Port 23	n-switch-1 / D12	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang N / 02-04 Dose G01 Rear
Rear 2	Hausaufgang N / 02-04 Dose G02 Rear
Rear 3	Hausaufgang N / 02-05 Dose G03 Rear
Rear 4	Hausaufgang N / 02-05 Dose G04 Rear
Rear 5	Hausaufgang N / 02-06 Dose G05 Rear
Rear 6	Hausaufgang N / 02-06 Dose G06 Rear
Rear 7	Hausaufgang N / 02-07 Dose G07 Rear
Rear 8	Hausaufgang N / 02-07 Dose G08 Rear
Rear 9	Hausaufgang N / 02-08 Dose G09 Rear
Rear 10	Hausaufgang N / 02-08 Dose G10 Rear
Rear 11	Hausaufgang N / 02-09 Dose G11 Rear
Rear 12	Hausaufgang N / 02-09 Dose G12 Rear
Rear 13	Hausaufgang N / 02-10 Dose G13 Rear
Rear 14	Hausaufgang N / 02-10 Dose G14 Rear
Rear 15	Hausaufgang N / 02-11 Dose G15 Rear
Rear 16	Hausaufgang N / 02-11 Dose G16 Rear
Rear 17	Hausaufgang N / 02-12 Dose G17 Rear
Rear 18	Hausaufgang N / 02-12 Dose G18 Rear
Rear 19	Hausaufgang N / 02-13 Dose G19 Rear
Rear 20	Hausaufgang N / 02-13 Dose G20 Rear
Rear 21	Hausaufgang N / 02-14 Dose G21 Rear
Rear 22	Hausaufgang N / 02-14 Dose G22 Rear
Rear 23	Hausaufgang N / 02-15 Dose G23 Rear
Rear 24	Hausaufgang N / 02-15 Dose G24 Rear