Device: Patchpanel P-Br-02/K/1

Role: Patchpanel Kupfer

Site: Block P

URL: https://netbox.fem.tu-ilmenau.de/dcim/devices/191/

Networking

Front Port	Description	Patched to	Rear Port
Port 1	p-switch-1 / A5	Rear 1 / 1
Port 2	p-switch-1 / A10	Rear 2 / 1
Port 3	p-switch-1 / A8	Rear 3 / 1
Port 4	p-switch-1 / A6	Rear 4 / 1
Port 5	p-switch-1 / A9	Rear 5 / 1
Port 6	p-switch-1 / A7	Rear 6 / 1
Port 7	p-switch-1 / A4	Rear 7 / 1
Port 8	p-switch-1 / A3	Rear 8 / 1
Port 9	p-switch-1 / A2	Rear 9 / 1
Port 10	p-switch-1 / A1	Rear 10 / 1
Port 11	p-switch-1 / A12	Rear 11 / 1
Port 12	p-switch-1 / A11	Rear 12 / 1
Port 13	p-switch-1 / A22	Rear 13 / 1
Port 14	p-switch-1 / A23	Rear 14 / 1
Port 15	p-switch-1 / A24	Rear 15 / 1
Port 16	p-switch-1 / B1	Rear 16 / 1
Port 17	p-switch-1 / A21	Rear 17 / 1
Port 18	p-switch-1 / A20	Rear 18 / 1
Port 19	p-switch-1 / A19	Rear 19 / 1
Port 20	p-switch-1 / A18	Rear 20 / 1
Port 21	p-switch-1 / A17	Rear 21 / 1
Port 22	p-switch-1 / A16	Rear 22 / 1
Port 23	p-switch-1 / A15	Rear 23 / 1
Port 24	Rear 24 / 1
Rear Port	Description	Patched to
Rear 1	Hausaufgang P 02 / 02-00-02-1 Dose EG01/1.1 Rear
Rear 2	Hausaufgang P 02 / 02-00-04-1 Dose EG24/1.2 Rear
Rear 3	Hausaufgang P 02 / 02-00-02-4 Dose EG04/1.3 Rear
Rear 4	Hausaufgang P 02 / 02-00-02-2 Dose EG02/1.4 Rear
Rear 5	Hausaufgang P 02 / 02-00-03-1 Dose EG23-2/1.5 Rear
Rear 6	Hausaufgang P 02 / 02-00-02-3 Dose EG03/1.6 Rear
Rear 7	Hausaufgang P 02 / 02-00-01-4 Dose EG15/1.7 Rear
Rear 8	Hausaufgang P 02 / 02-00-01-3 Dose EG16/1.8 Rear
Rear 9	Hausaufgang P 02 / 02-00-01-2 Dose EG17/1.9 Rear
Rear 10	Hausaufgang P 02 / 02-00-01-1 Dose EG18/1.10 Rear
Rear 11	Hausaufgang P 02 / 02-00-04-5 Dose EG30/1.11 Rear
Rear 12	Hausaufgang P 02 / 02-00-04-4 Dose EG31/1.12 Rear
Rear 13	Hausaufgang P 02 / 02-01-04-1 Dose OG01/1.13 Rear
Rear 14	Hausaufgang P 02 / 02-01-04-2 Dose OG02/1.14 Rear
Rear 15	Hausaufgang P 02 / 02-01-04-3 Dose OG03/1.15 Rear
Rear 16	Hausaufgang P 02 / 02-01-04-4 Dose OG04/1.16 Rear
Rear 17	Hausaufgang P 02 / 02-01-03-4 Dose OG15/1.17 Rear
Rear 18	Hausaufgang P 02 / 02-01-03-3 Dose OG16/1.18 Rear
Rear 19	Hausaufgang P 02 / 02-01-03-2 Dose OG17/1.19 Rear
Rear 20	Hausaufgang P 02 / 02-01-03-1 Dose OG18/1.20 Rear
Rear 21	Hausaufgang P 02 / 02-01-02-3 Dose OG21/1.21 Rear
Rear 22	Hausaufgang P 02 / 02-01-02-2 Dose OG32/1.22 Rear
Rear 23	Hausaufgang P 02 / 02-01-02-1 Dose OG33/1.23 Rear
Rear 24